## Slide 1
DSR Simulator
Architecture Update — IEEE-13 New Network
Simulator / Policy Separation · Multi-Agent Coordination · Unknown Fault Discovery
2
Core Modules
6
Policy Callbacks
8
Switches
5
Cases
NYU Tandon School of Engineering | SAI Lab | 2025
NYU Tandon | SAI Lab | DSR Multi-Agent Simulator | IEEE-13 New Network

## Slide 2
IEEE-13 New Network — Overview
5 isolated areas | 8 sectional switches | 4 tie nodes | 11 loads
NYU Tandon | SAI Lab | DSR Multi-Agent Simulator | IEEE-13 New Network
Area 1 — Grid
Nodes: N1, N2, N3, N4, N5, N6, N7
Always powered by main grid feeder
Switches: S1, S2 (sectional)
Area 2
Nodes: N8, N9
Fault-isolated section
Switches: S4, S5
Area 3
Nodes: N3, N10, N11, N12, N13
Fault-isolated section
Switch: S3
Tie Nodes
V1, V2, V3, V4
Connect areas via open tie switches
Switches: S6, S7, S8
Repair Crews
RC1 (4 km/h) RC2 (5 km/h)
Move on TGraph, repair faults
Efficiency = 3 units/hour
Scout + MPS
Scout1 (10 km/h)
Discovers hidden faults by visiting
MPS1 (8 km/h) — mobile power

## Slide 3
Architecture — Simulator / Policy Separation
environment.py = pure physics | policy.py = all decisions | PolicyState = filtered view
NYU Tandon | SAI Lab | DSR Multi-Agent Simulator | IEEE-13 New Network
environment.py — Pure Physics
No decision logic — fires callbacks to policy
Network power flow and load state
Agent movement along TGraph paths
Fault discovery when agent arrives
Switch auto-management on fault repair
Fires 6 callbacks to policy.py
PolicyState — what the policy sees:
state.rcs / scouts / mps
state.discovered_faults (found only)
state.dark_nodes (switch nodes excluded)
state.switches — open/closed only
state.loads — P, Q, W, state
state.env — action calls only
policy.py — All Decisions
Reads PolicyState, calls actions — swappable
6 Callbacks:
on_setup(state, known_faults)
on_scout_arrived(state, scout_id, node)
on_rc_idle(state, rc, events)
on_fault_discovered(state, events)
on_mps_arrived(state, mps, node, events)
on_mps_idle(state, mps, events)
Actions via state.env:
state.env.move_rc(rc_id, node)
state.env.move_scout(scout_id, node)
rc.start_repair(fault_id)
mps.connect() / mps.move_to(path, dist)
state.env.open_switch / close_switch
Swap GreedyPolicy to LLMPolicy: zero sim changes

## Slide 4
Fix 1 + 2 — PolicyState & Undiscovered Faults Hidden
Policy sees only what was physically discovered | Unknown fault mode = realistic
NYU Tandon | SAI Lab | DSR Multi-Agent Simulator | IEEE-13 New Network
PolicyState — Filtered View
state.rcs — position, state, exact location
state.scouts — position, state, exact location
state.mps — position, state, energy
state.switches — {S1: open/closed, ...}
state.dark_nodes — outage zones (no switch nodes)
state.discovered_faults — found faults only
state.loads — {L1: P, Q, W, state}
state.env — for action calls only
Policy cannot see:
x Undiscovered fault locations or types
x Switch internal power state
x Nodes not yet physically visited
Fault Discovery Timeline — Case 1
t=0
faults: [] — policy sees nothing
RC2 starts at N11 = DP2 location, auto-discovers + repairs immediately
t=1
Scout1 arrives at V1 -> faults: ['DP2']
RC2 already repairing, no redirect needed
t=3
RC1 arrives at N3 -> faults: ['DP1', 'DP2']
Policy: RC1.move_to('N10') [traverse fault edge N3->N10]
t=5
RC2 arrives at N8 -> faults: ['DP1','DP2','DP3']
Policy: RC2.move_to('N9') [traverse fault edge N8->N9]
t=8
All faults repaired — 11/11 loads ON
reward = 11800 / 11800

## Slide 5
Fix 3 — Switch Nodes Excluded from Search
Switches are infrastructure | Scouts and RCs only visit real bus/load nodes
NYU Tandon | SAI Lab | DSR Multi-Agent Simulator | IEEE-13 New Network
The Problem
TGraph includes switch nodes as path waypoints
Example: shortest path N2->N3 goes N2->S3->N3
But S1-S8 are not load or bus nodes
Scout visiting S3 = wasted step, no fault found
dark_nodes included switch nodes = incorrect
The Fix
switch_nodes = {n for n,t in egraph.nodes if t=='SWITCH'}
search_pool excludes switch_nodes
dark_nodes excludes switch_nodes
RC and Scout search excludes switch_nodes
Before — Switch shown in position
RC1: 'S3->N3 (4.0km left -> N3)'
MPS1: 'N8->S4 (2.0km left -> N10)'
Confusing — S3, S4 are switches, not real nodes
After — Real node-to-node span shown
RC1: 'N2->N3 (4.0km left -> N3)'
MPS1: 'N8->N3 (2.0km left -> N10)'
Walk path, skip switches, show nearest real nodes
exact_position(tgraph, switch_nodes) in all 3 agent classes

## Slide 6
Fix 4 — Live Terminal Communication
Every callback prints state and actions in real time | No external script needed
NYU Tandon | SAI Lab | DSR Multi-Agent Simulator | IEEE-13 New Network
What Prints Every Step
SIMULATOR -> POLICY [on_rc_idle] t=5
RC2: pos=N8 repair_target=None
rcs : {RC1: N10, RC2: N8}
scouts : {Scout1: N13->V4 (5.0km -> V4)}
mps : {MPS1: N10}
switches: {S1:closed, S3:open, S4:open}
dark : [N8, N9, N10, N11, ...]
faults : [DP1, DP2, DP3]
POLICY -> SIMULATOR [actions]
RC2.move_to('N9') [traverse fault edge]
Exact in-transit position:
N13->V4 (5.0km left -> V4)
= between N13 and V4, 5km remaining to target
6 Callbacks — Decision Points
on_setup
t=0 — initial agent assignments
on_scout_arrived
scout reaches a node — send to next
on_fault_discovered
new fault revealed — redirect RCs
on_rc_idle
RC has no task — repair, search, or move
on_mps_arrived
MPS arrives — connect if section safe
on_mps_idle
MPS standing by — connect or reposition

## Slide 7
Fix 5 + 6 — Unknown Faults Only & Output Summary
Removed known-faults runs | summary.json per case | bug fixes
NYU Tandon | SAI Lab | DSR Multi-Agent Simulator | IEEE-13 New Network
Changes to run_cases.py
Known-faults runs removed from output
Only UNKNOWN mode — realistic scenario
Saves output/summary.json:
{ "case": "Case1", "hours": 8, "reward": 11800 }
{ "case": "Case2", "hours": 13, "reward": 11800 }
...one entry per case
Bug fixes:
repair_lag showed -h for faults found at t=0
Fix: if dp.discovered_at_step is not None
Now shows repair_lag=2h correctly
Em-dash encoding broke on Windows terminal
Replaced Unicode dash with ASCII --
MPS standing by -- awaiting section clearance
Fault Timeline Output — Case 1
DP1: discovered=t=3h repaired=t=6h repair_lag=3h
by=RC:RC1 edge N3-N10 demand=4
DP2: discovered=t=0h repaired=t=2h repair_lag=2h
by=RC:RC2 node N11 (RC2 started there)
DP3: discovered=t=5h repaired=t=8h repair_lag=3h
by=RC:RC2 edge N8-N9 demand=4
Agent Stats:
RC1: 10km | 4h moving | 2h repairing | 2h idle
RC2: 12km | 4h moving | 4h repairing | 0h idle
Scout1: 33km | 6h moving | 7 nodes visited
MPS1: 14km | 3h moving | 0h connected

## Slide 8
MPS & Switch Behavior — Verified
MPS waits for section clearance | Switches auto-close on repair | All cases 11/11 loads
NYU Tandon | SAI Lab | DSR Multi-Agent Simulator | IEEE-13 New Network
Switch Auto-Management
Managed by simulator, not policy
Policy can call open/close manually (unused by greedy)
On fault detected (setup):
_open_section_switches(section)
Isolates faulted section from grid
On fault repaired:
_close_section_switches(section)
_attempt_tie_restoration(section)
Closes one tie switch if section still dark
Case 1 example:
t=0: S3 open (DP1 on N3-N10)
t=0: S4 open (DP3 on N8-N9)
t=6: S3 closes (DP1 repaired by RC1)
t=8: S4 closes (DP3 repaired by RC2)
MPS — Mobile Power Source Behavior
Moves to node with highest unserved load count
Connects only when section is safe
Stands by if active fault blocks the section
Case 1 — MPS1 trace:
t=0: @ N4 -> moves to N10 (2 loads)
t=2: arrives N10 -> standing by
DP1 edge N3-N10 still active
t=6: DP1 repaired -> MPS moves to N8
t=7: arrives N8 -> standing by
DP3 edge N8-N9 still active
t=8: DP3 repaired -> grid restores directly
Cases 1-4: MPS = 0h connected
Always arrives in faulted section
Fault repaired before MPS can connect
Case 5: MPS connects briefly at t=18
Disconnects same step (grid restored)

## Slide 9
Case 1 — Simulator / Policy Communication Log
DP1=edge N3-N10 | DP2=node N11 | DP3=edge N8-N9 | 8 hours total
NYU Tandon | SAI Lab | DSR Multi-Agent Simulator | IEEE-13 New Network
t
SIMULATOR -> POLICY (state)
->
POLICY -> SIMULATOR (actions)
t=0
on_setup | RC1@N2 RC2@N11 Scout1@N2 MPS1@N4 | faults: []
->
move_scout->V1 move_rc(RC1)->N3 RC2.start_repair(DP2) MPS1->N10
t=1
on_scout_arrived V1 | faults: [DP2] | RC1: N2->N3 (4km left)
->
move_scout->V2 | on_fault_discovered: (none) RC2 already repairing
t=2
on_mps_arrived N10 | RC2 repaired DP2 at t=2h | switches: S3 open
->
MPS1 standing by -- awaiting section clearance (DP1 still active)
t=3
on_rc_idle RC1@N3 | faults: [DP1, DP2] | DP1 edge N3-N10
->
RC1.move_to(N10) [traverse fault edge] RC2.move_to(N8)
t=4
on_rc_idle RC1@N10 repair_target=DP1 | both RCs traversed edge
->
RC1.start_repair('DP1')
t=5
on_rc_idle RC2@N8 | faults: [DP1,DP2,DP3] | DP3 edge N8-N9
->
RC2.move_to(N9) [traverse fault edge]
t=6
RC1 repaired DP1 | S3 closes | dark: [N8, N9, V4]
->
MPS1.move_to(N8) RC2.start_repair('DP3')
t=8
RC2 repaired DP3 | S4 closes | dark: [V4] | All done
->
All faults repaired | 11/11 loads ON | reward = 11800

## Slide 10
Results — All 5 Cases (Unknown Faults)
Greedy policy | IEEE-13 New Network | All cases: 11/11 loads | reward = 11800
NYU Tandon | SAI Lab | DSR Multi-Agent Simulator | IEEE-13 New Network
Case
Fault Locations
Start Positions
Hours
Reward
RC / Scout stats
Case 1
DP1: edge N3-N10 DP2: node N11 DP3: edge N8-N9
RC1@N2 RC2@N11 Scout@N2 MPS@N4
8h
11800
RC1: 4h mv, 2h rep RC2: 4h mv, 4h rep Scout: 33km, 7 nodes
Case 2
DP1: edge N10-N12 DP2: node N13 DP3: edge N6-N7
RC1@N2 RC2@N9 Scout@N2 MPS@N11
13h
11800
RC1: 10h mv, 3h rep RC2: 4h mv, 2h rep, 7h idle Scout: 29km, 8 nodes
Case 3
DP1: edge N4-N5 DP2: edge N6-N7 DP3: edge N2-N6
RC1@N1 RC2@V2 Scout@N1 MPS@N2
8h
11800
RC1: 4h mv, 2h rep RC2: 6h mv, 2h rep Scout: 32km, 8 nodes
Case 4
DP1: edge N2-N6 (cap=2) DP2: edge N8-N9 DP3: node N10
RC1@N4 RC2@N8 Scout@N4 MPS@V3
13h
11800
RC1: 9h mv, 4h rep RC2: 9h mv, 4h rep Scout: 53km, 13 nodes
Case 5
DP1: edge N2-N6 (cap=2) DP2: node N13 DP3: edge N4-N5
RC1@N8 RC2@N2 Scout@N8 MPS@V3
18h
11800
RC1: 16h mv, 2h rep RC2: 12h mv, 6h rep Scout: 35km, 9 nodes
All 5 cases achieve full restoration | Unknown faults add 0-10h overhead vs known mode | Greedy baseline policy